## Site Data
General Information | [11 empty] | Power Information | [34 empty] | Battery Bank Information | [8 empty] | AC Units Information | [11 empty] | Installed Solar Infromation | [11 empty] | Earthing |  | Fire Extinguishers |  |  |  | PMR Information |  | Alarm Extension |  |  | Colocation Information |  |  |  | Building Information
SN | Region | Domain | Exchange Name | Exchange LIC | FLC | Site Category | NEs Installed (Complete Detail) | Latitude | Longitude | Tower Available (Y/N) | Type and Hight of Tower | Wapda Ref Number | Transformer Capacity | Transformer Earthing | Installed DGs | Engine Make | Installation Year | DG Status | DG Starting Battery | Smart Switch Installed (Y/N) | ATS Installed (Y/N) | ATS Capacity | Name of Faulty ATS Parts (SS,Relays,Contactor etc) | No of Faulty ATS Parts | Load on DG P1 | Load on DG P2 | Load on DG P3 | Site Load Total | Site Load P1 | Site Load P2 | Site Load P3 | Make of Rectifier | Working Status (Y/N) | Rectifier Capacity (A) | No. of Modules | Capacity of Each Module (A) | Working Modules (No.) | Faulty Modules (No.) | Space for New Modules (No.) | Name of NEs Connected with Rectifier | Load of Individual NE (A) | Grounding of Rectifier (Y/N) | SPD in Rectifier (Y/N) | SPD Model (V and A Rating) | Total Installed SPDs | No of Faulty SPDs | Make of Battery | Battery Capacity (AH) | Battery Type (2V/12V) | No. of Cells/Bank | Date of Installation | Load on Battery Bank (A) | Practical Backup Time (Hrs) | Battery Installed New or Used | Battery Moved From (Incase Used Installed) | Location of AC Unit | Working Status (Y/N) | AC Make | Capacity (Tons) | Type of AC | Mount Type | Date of Installation | Sequence Controller Installed (Y/N) | AC Load | Total AC Load | Fault Nature of AC Unit | Estimate to Repair AC | Total Solar Size (KW) | PV Solar Panel Capacity (W) | No. of PV Panels Installed | Make of PV Panels | Charge Controller Make | No. of Charge Controllers | Charge Controller Capacity (A) | Inverter Make | Inverter Capacity (KW) | No. of Inverters | On Grid/Hybrid? | Roof Top/Ground? | Earthing Value | No. of Pits | FE Installed | No. of FEs | Type of Gas | Date of Expiry | PMR Performed (Y/N) | Last Performed Date | AC Main Failure (Y/N) | DC Low Voltages(Y/N) | Rectifier Failure (Y/N) | Colocation(Y/N) | Name of Colocation Vendors | Load of Each Vendor | Total Load | Building Status(Good/Poor/Worst) | Wall,Doors Condition
29 | RTR | Taxila/Wah |  |  |  | MSAG
30 | RTR | Taxila/Wah |  |  |  | MSAG
31 | RTR | Taxila/Wah |  |  |  | MSAG
32 | RTR | Taxila/Wah |  |  |  | MSAG
33 | RTR | Taxila/Wah |  |  |  | MSAG
34 | RTR | Taxila/Wah |  |  |  | MSAG
35 | RTR | Taxila/Wah |  |  |  | MSAG
36 | RTR | Taxila/Wah |  |  |  | MSAG
37 | RTR | Taxila/Wah |  |  |  | MSAG
38 | RTR | Taxila/Wah |  |  |  | MSAG
39 | RTR | Taxila/Wah |  |  |  | MSAG
40 | RTR | Taxila/Wah |  |  |  | MSAG
41 | RTR | Taxila/Wah |  |  |  | MSAG
42 | RTR | Taxila/Wah |  |  |  | MSAG
43 | RTR | Taxila/Wah |  |  |  | MSAG
44 | RTR | Taxila/Wah
45 | RTR | Taxila/Wah
46 | RTR | Taxila/Wah
47 | RTR | Taxila/Wah